Darsham Village Hall

Fire Safety Policy & Emergency Plan

Darsham Village Hall (DVH) is a registered charity (under number 230730), and the trustees are responsible for the day-to-day management of the Village Hall. The trustees are responsible for the implementation of this Fire Safety Policy. The DVH Trustees will implement the following to ensure the fire safety of all users of the Village Hall and the Building:

1. FIRE SAFETY CO-ORDINATOR DVH will appoint one of its trustees to act as the Village Hall’s Fire Safety Co-ordinator. This person will oversee the regular fire safety checks (detailed on items below) which they will sign off the results in the Fire safety Logbook. The Co-ordinator will monitor that all inspections have been carried out.

2. FIRE SAFETY LOGBOOKS All relevant fire safety logbooks including Fire Risk Assessments, alarm tests and firefighting equipment checks, will be held and maintained by the VHMC.

3. ESCAPE ROUTES & EXITS All Village Hall escape routes and fire exits are clearly signed and will be always kept free from obstruction, to ensure safe evacuation from the building.

4. SIGNAGE & ASSEMBLY POINT Details of escape routes, the emergency plan and assembly points should be recorded on the Fire Notices adjacent to manual call points.

5. EMERGENCY LIGHTING All emergency lighting will be visually checked at least monthly by the designated Committee Member and will be serviced and maintained on an annual basis by a recognised contractor, with the results recorded.

6. FIREFIGHTING EQUIPMENT Firefighting equipment will be provided in appropriate places within the Village Hall, according to the fire risk posed. All firefighting equipment will be visually checked at least monthly by the VHMC and will be serviced and maintained on an annual basis by a recognised contractor, with the results recorded. Any extinguisher noticed to have been discharged or damaged must be replaced immediately by the recognised contractor.

7. ELECTRICAL SYSTEMS & APPLIANCES The Village Hall’s electrical wiring installation will be inspected every five years by a recognised contractor, and the results recorded. All portable electrical appliances provided in the Village Hall will be PAT tested annually by a recognised contractor, with the results recorded.

8. FIRE & EMERGENCY EVACUATION All users of the Village Hall are required to familiarise themselves with this ‘Fire Safety Policy & Emergency Plan’, which is sent to all hirers prior to their hire of the hall. A copy of the policy can also be found on the notice board in the hall lobby.

9. FIRE SAFETY INSPECTIONS Regular visual inspections of the Village Hall and all its fire safety equipment will be conducted by the VHMC. These inspections should ensure, as a minimum, that:

All fire routes and exits are free from obstruction.

All fire doors are kept shut and not propped open with door stops.

All emergency lighting is working.

All fire-fighting equipment is present and serviceable and stored correctly.

Any flammable liquids are correctly stored.

There is no accumulation of rubbish within or near the building to create a fire hazard.

The results of these fire safety inspections should be recorded.

10. FIRE RISK ASSESSMENTS

A Fire Risk Assessment will be undertaken on an annual basis and the results approved by the VHMC. The Fire Risk Assessment will be a standing item on the VHMC checklist, to ensure that additional reviews may be undertaken as soon as possible if any changes are made that may potentially impact upon fire safety, such as alterations to the premises or new activities of hirers.

FIRE SAFETY GUIDANCE FOR HIRERS

YOU, THE HIRER, are the ‘RESPONSIBLE PERSON’ in the event of a Fire or an Emergency within Darsham Village Hall during your hire of the Village Hall. At all times the Village Hall is in use, the RESPONSIBLE PERSON must be in charge, and ready to take control of any incident. Please read and become familiar with these instructions. Your priority should always be to Save Lives and not the building!

BEFORE YOUR EVENT STARTS:

Check that all escape routes are not blocked, for example, by tables, chairs, or boxes.

Check that you know where any fire extinguishers or blankets are stored, and the different uses of the water and CO2 fire extinguishers.

Check that all electrical equipment and extension leads that have been brought into and/or are being used within the Village Hall look safe to use.

Check that no balloons or other decorations have been hung where they could fall and obstruct a Fire Exit.

Inform all your attendees of the Fire Exit routes, and the Assembly Point by the external noticeboard at the corner of Cheyney Green outside the car park, in the event of a fire or emergency.

DURING YOUR EVENT:

Know how many people are at your event.

Keep fire doors closed when not in use, and do not prop them open with door stops.

Ensure that the Fire Exits and escape routes do not become obstructed.

Brief any disabled people and/or their assistants regarding their best evacuation route from the Village Hall in the event of a fire or emergency.

Ensure that no vehicle obstructs the Village Hall’s main entrance, so that wheelchair users and those with prams/buggies can exit quickly and safely.

Ensure that emergency services vehicles have a clear access route to the Village Hall from the road.

Ensure that your event attendees do not engage in any activity that is likely to cause a fire, for example, smoking or using candles or other naked flames.

Be vigilant regarding any smells of burning or a gradual build-up of smoke.

AFTER YOUR EVENT:

Remove all waste and check rooms for smouldering or items burning.

Check cookers, heaters and electrical appliances are turned off and unplugged where necessary.

Turn off lights not required for security purposes and close all internal doors.

Secure all external doors and windows.

EMERGENCY PLAN

Darsham Village Hall Fire Safety Policy & Emergency Plan

FIRE NOTICE In the event of a fire DIAL 999

The responsible person in charge of the hall will give loud and clear instructions and tell all persons to

Leave the building using the nearest available exit

Meet at the ASSEMBLY POINT – By the external notice board at the corner of Cheyney Green, outside the car park

Start the fire alarm if it is not already sounding, by using a ‘Break Glass Point’ at one of the fire exits.

NO MATTER HOW SMALL THE FIRE, CALL THE FIRE BRIGADE. There is no public telephone nearby. Use a mobile to call 999.

GIVE THIS ADDRESS:

Darsham Village Hall,

Cheyney Green,

Darsham, IP17 3FA.

Check every room that is safe to enter, to ensure everyone has left.

Use firefighting equipment to clear a safe passage to a fire exit.

Check that everyone is accounted for and do not allow anyone to re-enter the building under any circumstances.

On arrival of the Fire Brigade, report to the Officer in Charge that all persons are safe or state the last known location of anyone missing.

All incidents, no matter how small, must be reported. Co Chair (Heather Ballantine) – 07860 278955 or Co Chair (Jill Edwards) – 07583 561573

FIRE ESCAPE ROUT ES & EQUIPMENT LOCATIONS